{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["清单"],"read":"whole","date_system":"1900"}

{"sheet":"清单","index":0,"n_rows":13,"n_cols":9,"rows_kept":13,"merged":[[0,0,0,8],[1,0,1,1],[2,0,2,1],[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,6,1],[7,0,7,1],[8,0,8,1],[9,0,9,1],[10,0,10,1],[11,0,11,2],[12,0,12,8]]}
["漓江路以北、潮北河以南地块标准厂房项目临时用电设施拍卖清单"]
["序号",null,"名 称","规格型号","单位","数量","最低单价","报价","备注"]
[1,null,"油浸式变压器","S13-400KVA","台",1,8000,null,"设施情况自行勘察"]
[2,null,"油浸式变压器","S11-630KVA","台",1,13000,null,"设施情况自行勘察"]
[3,null,"分界开关","ZW32-12F/630A","台",1,4500,null,"设施情况自行勘察"]
[4,null,"落地式配电箱","400KVA变压器用，外壳不锈钢","台",1,2900,null,"设施情况自行勘察"]
[5,null,"落地式配电箱","630KVA变压器用，外壳不锈钢","台",1,4500,null,"设施情况自行勘察"]
[6,null,"高压铜芯电缆","FS-YJV22-3*70mm2","米",693,40,null,"自行勘察现场是否可抽回，最终按实计算。"]
[7,null,"低压铜芯电缆","FS-YJV22-4*185mm2","米",26,180,null,"自行勘察现场是否可抽回，最终按实计算。"]
[8,null,"低压铜芯电缆","YJV22-4*300mm2","米",26,280,null,"自行勘察现场是否可抽回，最终按实计算。"]
[9,null,"电杆、高压电能计量装置等其他材料",null,"项",1,3000,null,"设施情况自行勘察"]
["合计"]
["注：以上价格包含办理销户、停电及拆除恢复等一切相关费用。（参照未来科技城、尚德广场临时用电设施拆除费用）"]